## Slide 1: Chapter 12 – Safety Engineering

## Slide 2: Topics covered
In this lesson, you will learn:
  How to analyze hazards and develop safety requirements
  Best practices for safety-focused processes
  Verification techniques like static analysis and model checking
  How regulators assess safety through safety cases
  Why safety must be designed into systems up front
  How process, analysis, and verification work together to create safety-critical systems
The goal is to understand how to engineer critical systems where failures could result in loss of life. You'll gain skills in hazard-driven design, safety processes, and rigorous verification.

## Slide 3: Improving Software Safety
Improving Software Safety
  Software safety reflects a system's ability to operate without human injury, death, or damage.
  Software impacts system safety through decision-making and actions. It also monitors safety components.
  Reliability involves meeting specifications. Safety focuses on avoiding damage regardless of specs.
  Reliable systems can still be unsafe due to dormant faults, spec errors, hardware failures, commands.
To improve software safety:
  Anticipate abnormal conditions, Analyze hazards, Architect for safety, Use safe languages and tools, Test for safety, Document known hazards

## Slide 4: Safety-critical systems

## Slide 5: Safety critical systems
Safety-Critical Systems
  Systems where safe operation is essential to avoid damage
Examples:
  Aircraft controls
  Chemical process controls
  Automobiles
Primary systems:
    Embedded software where failure causes hardware failure and threatens people
Secondary systems:
  Failures lead to faults in socio-technical systems with safety consequences

## Slide 6: Safety critical systems -- continued
Situations leading to accidents:
  Stuck valves
  Incorrect computations
Hazard prevention in design:
  Hazard avoidance
  Hazard detection/removal
  Damage limitation
Aim for safe operation through hazard avoidance, detection, and damage control

## Slide 7
The Inevitability of Accidents
  Accidents rarely caused by single failures in resilient systems
  Almost all accidents result from combinations of malfunctions
  Anticipating all problem combinations is impossible
  Therefore, complete safety is impossible. Accidents are inevitable.
However, software control contributes to increased safety:
  Allows wider condition monitoring
  Enables safety strategies to reduce human exposure
  Can detect/correct operator errors
While perfect safety is impossible, software control improves monitoring and reduces exposure. Careful system design minimizes accident combinations

## Slide 8: Safety requirements

## Slide 9: Safety Requirements Engineering
Safety Requirements Engineering
  Identify protection requirements to avoid injury, death, or environmental damage
  "Shall not" requirements define unacceptable situations
  Functional requirements for checking, recovery, and protection features
Hazard analysis involves:
  Hazard identification
  Hazard assessment
  Safety requirements specification

## Slide 10: Understanding Hazards
Identify hazards that may threaten the system
Physical, electrical, biological, service failure, etc.
Assess likelihood and potential consequences
Categorize risks as:
  Intolerable (must never occur)
  As low as reasonably practical
  Acceptable

## Slide 11: Insulin pump risks
Insulin overdose (service failure).
Insulin underdose (service failure).
Power failure due to exhausted battery (electrical).
Electrical interference with other medical equipment (electrical).
Poor sensor and actuator contact (physical).
Parts of machine break off in body (physical).
Infection caused by introduction of machine (biological).
Allergic reaction to materials or insulin (biological).

## Slide 12: Risk classification for the insulin pump
Identified hazard | Hazard probability | Accident severity | Estimated risk | Acceptability
1.Insulin overdose computation | Medium | High | High | Intolerable
2. Insulin underdose computation | Medium | Low | Low | Acceptable
3. Failure of hardware monitoring system | Medium | Medium | Low | ALARP
4. Power failure | High | Low | Low | Acceptable
5. Machine incorrectly fitted | High | High | High | Intolerable
6. Machine breaks in patient | Low | High | Medium | ALARP
7. Machine causes infection | Medium | Medium | Medium | ALARP
8. Electrical interference | Low | High | Medium | ALARP
9. Allergic reaction | Low | Low | Low | Acceptable

## Slide 13: Hazard Analysis Techniques
What is Hazard Analysis?
  A systematic approach to identify and evaluate potential risks in a system or process and determine their root causes.
2. Techniques for Discovering Root Causes:
  Deductive Analysis: Begin with a known hazard and deduce its potential causes.
  Inductive Analysis: Start with a known failure or event and assess the subsequent hazards it might lead to.
3. Fault Tree Analysis (FTA):
  Concept: Represents a visual approach to analyze the potential causes of a specific hazard.
  Place the primary hazard at the root.
  Break down and identify system states or events leading to the primary hazard.
  Connect these states or events using "AND/OR" logic to represent combinations leading to the hazard.
Purpose:
  Minimize single points of failure.
  Formulate requirements needed to manage and mitigate these risks.

## Slide 14: An example of a software fault tree

## Slide 15: Insulin pump - software risks
Arithmetic error
  A computation causes the value of a variable to overflow or underflow;
  Maybe include an exception handler for each type of arithmetic error.
Algorithmic error
  Compare dose to be delivered with previous dose or safe maximum doses. Reduce dose if too high.

## Slide 16: Safety engineering processes

## Slide 17: Safety engineering processes
Based on reliability processes (reviews, checks)
  Fault avoidance and detection
  Safety reviews, hazard tracking
Regulators require evidence of:
  Specification checks
  Verification and validation
  Dependable processes enacted
Agile methods rarely used:
  Need extensive documentation
  Detailed safety analysis important
Some agile techniques may be used

## Slide 18: Safety Assurance: Ensuring Dependable Processes
Systematic approach to ensure a system is safe and free from unreasonable risk.
Key Aspects:
  Hazard Logging:
    Traces hazards to specific actions and documents potential risks.
  Safety Engineers:
    Professionals upholding safety standards.
    Ensures design and testing meet requirements.
  Safety Reviews:
    Periodic evaluations to identify safety gaps.
  Certification:
    Independent recognition of meeting safety standards.
  Configuration Management:
    Controlled system changes to maintain safety.
Safety assurance adds an extra layer beyond testing, ensuring minimized avoidable risks and confidence in safety processes.

## Slide 19: A simplified hazard log entry
Hazard Log Page 4: Printed 20.02.2012 |  |  |  |  |  | 
System: Insulin Pump System Safety Engineer: James Brown |  |  |  | File: InsulinPump/Safety/HazardLog Log version: 1/3 |  | 
Identified Hazard | Insulin overdose delivered to patient |  |  |  |  | 
Identified by | Jane Williams |  |  |  |  | 
Criticality class | 1 |  |  |  |  | 
Identified risk | High |  |  |  |  | 
Fault tree identified | YES | Date | 24.01.07 |  | Location | Hazard Log, Page 5
Fault tree creators | Jane Williams and Bill Smith |  |  |  |  | 
Fault tree checked | YES | Date | 28.01.07 |  | Checker | James Brown

## Slide 20: Safety reviews and Formal Verification
Safety Reviews
  Driven by hazard register
  Assess if system can cope with each hazard safely
  Used alongside other techniques
  Review team judges system safety for each identified hazard
Formal Verification
  Mathematical analysis of specifications
  Can find errors in specifications and implementations
  Useful for concurrent systems
  Downsides:
    Expensive
    Proofs may have errors
    May not reflect real requirements

## Slide 21: Safety reviews and Formal Verification cont.
Model checking:
  Explore all paths through system model
  Check property validity
  Good for concurrent systems
Practical for small/medium critical systems

## Slide 22: Model checking

## Slide 23: Static Analysis tools for software
What are they: Software tools that parse and analyze source code for potential errors.
Main Functions:
  Error Detection:
    Automatically discovers erroneous conditions.
    Supplements, but doesn't replace, manual inspections.
  Aid to V&V Team:
    Enhances problem-finding capabilities with automated parsing.
Key Features:
  Characteristic Error Checking:
    Detects patterns typical of language errors.
  User-Defined Error Checking:
    Allows customization to find additional error patterns.
  Assertion Checking:
    Validates assertions and relationships in the code.
  Security Checking:
    Identifies vulnerabilities, especially useful in weakly-typed languages like C.

## Slide 24: Automated static analysis checks
Fault class | Static analysis check
Data faults | Variables used before initialization Variables declared but never used Variables assigned twice but never used between assignments Possible array bound violations Undeclared variables
Control faults | Unreachable code Unconditional branches into loops
Input/output faults | Variables output twice with no intervening assignment
Interface faults | Parameter-type mismatches Parameter number mismatches Non-usage of the results of functions Uncalled functions and procedures
Storage management faults | Unassigned pointers Pointer arithmetic Memory leaks

## Slide 25: Safety cases

## Slide 26: Safety Cases
Safety Cases
  Structured documents showing safety/dependability achieved
  Required by regulators before certification
  Should be structured arguments justifying claims
  Evidence presented to support assertions
Can include:
  Formal proofs
  Design rationale
  Process factors
Software safety case part of overall system case
Convince regulator that adequate safety achieved

## Slide 27: The contents of a software safety case
Chapter | Description
System description | An overview of the system and a description of its critical components.
Safety requirements | The safety requirements abstracted from the system requirements specification. Details of other relevant system requirements may also be included.
Hazard and risk analysis | Documents describing the hazards and risks that have been identified and the measures taken to reduce risk. Hazard analyses and hazard logs.
Design analysis | A set of structured arguments (see Section 15.5.1) that justify why the design is safe.
Verification and validation | A description of the V & V procedures used and, where appropriate, the test plans for the system. Summaries of the test results showing defects that have been detected and corrected. If formal methods have been used, a formal system specification and any analyses of that specification. Records of static analyses of the source code.

## Slide 28
Chapter | Description
Review reports | Records of all design and safety reviews.
Team competences | Evidence of the competence of all of the team involved in safety-related systems development and validation.
Process QA | Records of the quality assurance processes (see Chapter 24) carried out during system development.
Change management processes | Records of all changes proposed, actions taken and, where appropriate, justification of the safety of these changes. Information about configuration management procedures and configuration management logs.
Associated safety cases | References to other safety cases that may impact the safety case.

## Slide 29: Structured arguments

## Slide 30: Insulin pump safety argument
Arguments are based on claims and evidence.
Insulin pump safety:
  Claim: The maximum single dose of insulin to be delivered (CurrentDose) will not exceed MaxDose.
  Evidence: Safety argument for insulin pump (discussed later)
  Evidence: Test data for insulin pump. The value of currentDose was correctly computed in 400 tests
  Evidence: Static analysis report for insulin pump software revealed no anomalies that affected the value of CurrentDose
  Argument: The evidence presented demonstrates that the maximum dose of insulin that can be computed = MaxDose.

## Slide 31: Software safety arguments
Understanding Safety Arguments
  Goal: Show system cannot reach unsafe state
  Weaker than proofs of full correctness
Approach:
  Assume unsafe state is reached
  Follow program logic backward from end
  Identify all paths leading to program exit
  Assume exit condition is unsafe
  Demonstrate each path's logic contradicts unsafe exit
Graphical models help visualize argument
Essentially prove by contradiction:
  Suppose unsafe state reached
  Show program logic prevents this

## Slide 32: Insulin dose computation with safety checks
-- The insulin dose to be delivered is a function of blood sugar level,
-- the previous dose delivered and the time of delivery of the previous dose
# Constants
MAX_INSULIN_DOSE = 6
MIN_INSULIN_DOSE = 0
# Compute initial dose based on blood sugar, etc.
current_insulin_dose = compute_insulin_dose()
# Safety check 1 - limit dose increase
if previous_insulin_dose != 0:
assert(previous_insulin_dose != 0)
dose_increase = current_insulin_dose / previous_insulin_dose
if dose_increase > 2:
current_insulin_dose = previous_insulin_dose * 2
# Safety check 2 - constrain to min/max
if current_insulin_dose < MIN_INSULIN_DOSE:
current_insulin_dose = 0
elif current_insulin_dose > MAX_INSULIN_DOSE:
current_insulin_dose = MAX_INSULIN_DOSE
# Deliver final computed dose
administer_insulin(current_insulin_dose)

## Slide 33: Key points (Safety Engineering Concepts)
Safety-critical systems can cause injury or death if they fail
Use hazard analysis to identify risks and derive safety requirements
Well-defined, certified process is essential
Focus on hazard avoidance, detection, and control
Safety must be designed in from the start, not added later

## Slide 34: Key points (Safety Engineering Techniques)
Static analysis inspects code for anomalies without executing it
Model checking exhaustively analyzes state spaces
Safety cases document evidence of safety for regulators
Strong verification required (testing is insufficient)
Process discipline, hazard analysis, and verification work together